Beam Position Log for LZM-100.00330

Rear Thermopile Serial #: 3066697

Front Thermopile Serial #: 3059279

17 December 2022

No lens. Max brightness. No offset. 600 bits.

Power Calibration: 621, 620, 637, 620, 620, 622, 621, 632, 622, 619

19 December 2022

Power Calibration: 628

No lens. 1.5 mm offset. 600 bits

Power Calibration: 657

No lens. Max brightness. No offset. 600 bits.

Power Calibration: 622

Cylindrical f10.5 lens. Max brightness. No offset. 300 bits.

Power Calibration: 345

19 December 2022

Final Beam Position:

Power Calibration: 632

☒  Max Brightness